## Sheet1
RFP 2024-017
Equipment Specification List
Item | Quantity | Description | Item / Part Number
SCBA Harness | 4 | Scott X3 Pro | X8814025305304
Cylinder | 8 | Scott 4500 Cylinder | 804722-01
Water Can | 1 | Amerex | AMX-240
Stair Chair | 1 | Stryker | Stair-Pro Model 6252
Battery Fan | 1 | Super Vac | V18-BK-08-SP
Chain Saw | 1 | Stihl | 362 CM w/ 20" Bar & Chain
K-12 Saw | 1 | Stihl | TS420 14" Cut Off Saw
1.75" Hose | 4 | Key Combat Ready Hose, 1.75" 50', Blue, 1.5" NST Couplings | DP17-1000-50B-ARN
1.75" Hose | 3 | Key Combat Ready Hose, 1.75" 50', Green, 1.5" NST Couplings | DP17-1000-50G-ARN
1.75" Hose | 5 | Key Combat Ready Hose, 1.75" 50', Orange 1.5" NST Couplings | DP17-1000-50O-ARN
1.75" Hose | 4 | Key Combat Ready Hose, 1.75" RED, W/ 1.5" ALUMINUM COUPLING | DP17-1000-50R-ARN
2.5" Hose | 4 | Key Fire Hose, 2.5" x 50' Tan, Combat Ready, 2.5" NH | DP25X50-1000TARN
5" Hose | 10 | KFH 5"X100' YELLOW, RUBBER, 450 PSI, 5" STZ | RC50-450-100Y-STZ
Water Thief | 1 | Task Force Tips | WT5NJ-NJ-NF
Metro 1 Nozzle | 4 | Task Force Tips - include all equipment below: | Metro 1
ME1TO-202 TFT 1.5" Metro 1 Tip Only
w/ 175 GPM @ 75 PSI Washer
F140SBI TFT Smooth Bore Insert Kit
For H-VO & H-2VO Series Shutoff 8"
15/16", 1" & 1-1/8" Inserts
P116-Kit TFT 1.5" Stream Straightener
For VIT & FLIP TIP Models
H-VOL TFT 1.5" x 1.5" Detent Ball Shutoff
Valve w/ 1-3/8" Waterway & Pistol Grip
175 GPM GREEN HANDLE & BELL
Metro 2 Nozzle | 1 | Task Force Tips - include all equipment below: | Metro 2
H-2VOL TFT 2.5" x 1.5" Detent Ball Type
Shutoff Valve w/ 1-3/8" Waterway & Pistol Grip
P116 Kit TFT 1.5 Stream Straightener
F14034 Kit TFT 1-1/8 Smooth Bore Insert kit
VO-123 TFT O-Ring 123
V4232 TFT Smalley Ring
ME2TO- 354 TFT 1.5" Metro 2 Tip Only
w/ 250GPM @ 50 PSI Washer
Install P198 & P119F Coupling
Items To be assembled @ TFT Before Shipping
2.5 Gate Valve | 1 | Task Force Tips | AYSNJ-NF
Double Male | 2 | Task Force Tips | AA6N-NJ
Double Female | 2 | Task Force Tips | AA7NJ-NJ
4.5" female to 5" Storz | 1 | Task Force Tips | A04NR-ST Hydrant Adapter
5" Storz to 2.5" Male | 1 | Task Force Tips | AA2ST-NJ
5" Storz to 2.5" female | 1 | Task Force Tips | AA12ST-NJ
Foam Eductor | 1 | Task Force Tips | UE-095-NF
5" Storz to 4.5" Female | 1 | Task Force Tips | TFT-AA1ST-NR 5" Storz x 4.5" Female
6" female to 5" Storz | 1 | Task Force Tips | AA1ST-NHF 5"Storz x 6" NHF
3" Cap | 1 | South Park | HCC2810AC
2.5" Cap | 2 | South Park | HCC2808AC
2.5" x 1.5" | 1 | Task Force Tips | AA5NJ-NF
Tiramese | 1 | Harrington | H330-50-25NH
Thermal Imaging Camera | 2 | Bullard | Eclipse QXT
Halligan | 2 | Fire Hooks Unlimited | PB-30
Flat Head Axe | 2 | Fire Hooks Unlimited | LS-8
Portable Band Saw | 1 | Makita | XBP02Z
Sheet Rock Hook 6ft | 2 | Georgia Fire Rscue | T-14-6
Sheet Rock Hook 8ft | 2 | Georgia Fire Rscue | T-14-8
NY Hook 6ft | 2 | Ten 8 | RH-6
NY Hook 8ft | 2 | Ten 8 | RH-8
Medium Ladder Belt | 1 | PacMule Ultra Quick Release | 618-QLH4107FB-18
Large Ladder Belt | 4 | PacMule Ultra Quick Release | 618-QLH4107FB-18
Extra Large Ladder Belt | 1 | PacMule Ultra Quick Release | 618-QLH4107FB-18
4-Gas Monitor | 1 | BW/Honeywell | Gas Alert Max XTS
Wide Area Search Bag | 1 | RIT Chicago Style Large Area Search Kit | A1092
PIG Tool | 1 | THE PIG | 36" Pig
Sledge Hammer | 1 | The Fire Store/ Witmer Group | SHF-10
S.O.R.D Drag Device | 1 | The S.O.R.D | S.O.R.D Prime
Box Lights | 4 | Stream Light | Fire Vulcan LED
Bolt Cutters 36" | 1 | Georgia Fire Rscue | BC36
16" Electric Chain Saw | 1 | Makita | XCU04PT